**SAA protein**

|  |  |
| --- | --- |
| Catalog No. | Application |
| K1936 | Calibrator and quality control product |

|  |  |
| --- | --- |
| Source | *E.coli* |
| Form | Clear and colorless liquid without flocculent precipitate |
| Purity | 90% as analysized by SDS-PAGE |
| Buffer | 1×PBS, pH7.4 |
| Storage instructions | Upon delivery aliquot and store at 2-8℃(35.6-46.4°F) for up to 3 years. Avoid freeze/thaw cycles.  |