**S100B protein**

|  |  |
| --- | --- |
| Catalog No. | Application |
| K7916 | Calibrator and quality control product |

|  |  |
| --- | --- |
| Source | Mammalian cell |
| Form | Clear and colorless liquid without flocculent precipitate |
| Purity | >90% as analysized by SDS-PAGE |
| Buffer | 1xPBS, pH7.4 |
| Storage instructions | Upon delivery aliquot and store at -80℃(-112°F) for up to 3 years. Avoid freeze/thaw cycles.  |